## C-NRPP Professional Information
Control Chart for C-NRPP Quality Assurance - Passive Device Measurement Professional
PROFESSIONAL INFORMATION
Company Name: | [Name] | Notes:
Report Date: | [Date]
Radon QA/QC Coordinator | [Name]
Device ID: | [ID]
Batch Received Date: | 2016-01-01
End date: | 2016-01-31
# of Devices in Batch:
Provided by Device Laboratory
LLD: (Bq/m³) | [LLD]

## Control Chart - Spikes
Control Chart for C-NRPP Quality Assurance - Passive Devices - Measurement Professional
SPIKES
Date | Device ID | Spike # | Reported Value (Bq/m3) | Target Value (Bq/m3) | IRPE (%)_
2015-06-30 | SAR886 | 1 | 954.6 | 950 | 0.4842% | In Control
2015-06-30 | SAS005 | 2 | 970.8 | 950 | 2.189% | In Control | Warning Level = | +/- 15-25%
2015-06-30 | SAS087 | 3 | 800 | 950 | 15.79% | Warning Level | In-Control Range = | +/- 0-14%
2015-06-30 | SAS035 | 4 | 928.5 | 950 | 2.263% | In Control
2015-06-30 | SAS123 | 5 | 939.1 | 950 | 1.147% | In Control

## Control Chart - Duplicates
Control Chart for C-NRPP Quality Assurance - Passive Device - Measurement Professional
DUPLICATES
Date | Dup # | Test A | Test B | Avg | RPD (%) | Average Below 75 | Average 75-149 | Average above 150
2011-05-16 | 5 | 251.5 | 207 | 229.25 | 19.4111 |  |  | Warning Level | For tests 150 Bq/m³ or greater
2011-05-17 | 6 | 370 | 326.5 | 348.25 | 12.491 |  |  | In Control |  | In-Control Level = | +/- 14%
2011-05-18 | 7 | 168 | 152 | 160 | 10 |  |  | In Control |  | Warning Level = | +/- 28%
2011-06-09 | 8 | 296 | 253 | 274.5 | 15.6648 |  |  | Warning Level
For Tests 75 - 149 Bq/m³
[10 empty] | In-Control Level = | +/- 25%
[10 empty] | Warning Level = | +/- 50%
No control limits for tests below 75 Bq/m³

## Control Chart - Blanks
Control Chart for C-NRPP Quality Assurance - Passive Device - Measurement Professional
BLANKS
| Device Manufacturer LLD: |  |  | 20 | (Bq/m³)
| Date | Device ID | Blank # | Reported Value (Bq/m³) |  | In Control | Out of control
Transit Blanks: | 15/12/2011 | LT8865 | 1 | 25.8 |  |  | Out of Control
Field Blanks: | 2012-02-01 | LT8156 | 1 | 22 |  | In Control
| 31/1/2012 | LT8087 | 2 | 24 |  |  | Out of Control
| 2012-02-02 | LT8035 | 3 | 25.1 |  |  | Out of Control
| 16/2/2012 | LT8155 | 4 | 25.4 |  |  | Out of Control