## C-NRPP Professional Information
Control Chart for C-NRPP Quality Assurance -Continuous Radon Monitors
PROFESSIONAL INFORMATION
Company Name: |  |  |  | Notes:
Report Date:
Radon QA/QC Coordinator
Device Serial Number: | [ID]
Start Date: | 2016-01-01
End date: | 2016-01-31
Provided by Device Manufacturer
Devices: | Manufacturer | Serial Number | LLD: (Bq/m³)
CRM#1
CRM#2
CRM#3
…

## Control Chart - Cross Checks
Control Chart for C-NRPP Quality Assurance -CRMs
DUPLICATES
Date | Dup # | CRM#1 | CRM#2 | Avg | RPD (%) | Average Below 50 | Average 50-74 | Average 75-149 | Average above 150
sample |  | 160 | 150 | 155 | 6.452% |  |  |  | In Control | For Tests Above 150 Bq/m³ |  |  | For Tests Above 150 Bq/m³ |  |  | For Tests Above 150 Bq/m³
Sample |  | 300 | 150 | 225 | 66.67% |  |  |  | Out of Control Level
Sample |  | 25 | 16 | 20.5 | 43.9% | No Control Limit |  |  |  | In-Control Level = | 10% | *10% is lowest warning level* |  | In-Control Level < | 10% | In-Control Level < | 10% | ≤ Warning Level
Sample |  | 88 | 55 | 71.5 | 46.15% |  | Warning Level |  |  | Warning Level = | 20% | *Write limit instead of level??* | 10% | ≤ Warning Level < | 20% | Warning Level < | 20% | ≤ Out of Control
Sample |  | 74 | 77 | 75.5 | 3.974% |  |  | In Control |  |  |  | *Could write variation instead of +/- | 20% | ≤ Out of Control
Sample |  | 77 | 99 | 88 | 25% |  |  | Out of Control Level |  | For Tests 75 - 149 Bq/m³
Sample (delete before adding data)
[10 empty] | In-Control Level = | 15%
[10 empty] | Warning Level = | 25%
For Tests 50-74 Bq/m³
[10 empty] | In-Control Level = | 25%
[10 empty] | Warning Level= | 50%
For tests below 50 Bq/m³
No Control Limit